## Slide 1: High Avaibility & Load Balaning
Services and networks administration

## Slide 2: PLAN
Definition
Clustering
Load Balancing
Redondance
Duplication
Conclusion

## Slide 3: Introduction

## Slide 4: Problematic 1/3
Users dissatisfaction
Data Loss
Money loss

## Slide 5: Problematic 2/3
691.27 $/second
607.75 $/second
228.31 $/second
199.45 $/second
101.92 $/second
* In 2009 from www.chrogeek.com
$21,800,000,000
$7,200,000,000
$19,166,000,000
$6,290,000,000
$3,214,000,000

## Slide 6: Problematic 3/3
5 min of Downtime
207 381 $
182325 $
68493 $
59835 $
30576 $

## Slide 7: High Avaibility
system design approach and associated service implementation that ensures continuity of service.
Reduce the downtime

## Slide 8: Downtime
Availability % | Downtime per year
90% | 36,5 days
95% | 18,25 days
97% | 10,96 days
98% | 7,30 days
99% | 3,65 days
99,5% | 1,83 days
99,8% | 17,52 hours
99,9% | 8,76 hours
99,95% | 4,38 hours
99,99% | 52,56 minutes
99,999% | 5,26 minutes
99,9999% | 31,5 seconds

## Slide 9
What is the High Availability?
A Highly Available material is a material
providing full-time availability even when
failures occurs.
What is the Fault Tolerance?
The Fault Tolerance is the capacity of a material to ensure the data availability in case of a failure occurs. It provides full-time checking and
redundancy devices to perform high availability.

## Slide 10: Unplanned Downtime: Causes
Chart: The Standish Group 2001
| Application bug or error | Main système hardware failure | Database error | Main server système bug | Network | Operator error | Other server's hardware failure | Other server's système bug | Environments conditions | Planned outage | Other
Colonne1 | 35 | 11 | 9 | 6 | 6 | 6 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4

## Slide 11: Downtime costs
Chart: Cost per minute of downtime(dollars)
| Eectronic Ressource | Supply chain | E-commerce | Internet banking | Customer service center | Messaging
Série 1 | 13000 | 12000 | 11000 | 9000 | 5000 | 1200

## Slide 12: Measuring Availability
MTTF : Mean Time To Failure : time before the failure
MTBF : Mean Time Between Failure : time between two breakdowns
MTTR : (Mean Time to Resolution) : estimated time to restore the system
MTBF = MTTF + MTTR

## Slide 13: Measuring Availability
MDT : Mean Down Time : the average time that a system is non-operational
MUT : Mean Up Time : is defined as the continuous operational time
MTBF = MUT + MDT
Availability = MTTF/MTBF

## Slide 14: How to reduce downtime ?
Reducing downtime
Avoiding Single points of failure

## Slide 15: Single point of failure
SPOF is a part of a system that, if it fails, will stop the entire system from working.
Redundancy

## Slide 16: Redundancy
The redundancy is the duplication of critical components or functions of a system.
power supply
Internet Connection
servers
Geographic location

## Slide 17: Power source redundancy

## Slide 18: Server Clustering 1/2
Cluster = Grappe de serveurs ou Ferme de serveurs.
A computer cluster consists of a set of loosely connected computers that work together so that in many respects they can be viewed as a single system.

## Slide 19: Server Clustering 2/2
Node B
(Active)
Node A
(Service Down)
Node B
(Passive)
Node A
(reestablished )
Shared Disk

## Slide 20: Internet connection redundancy
Node B
(Passive)
Shared Disk

## Slide 21: High Avalaibility Solutions Active/Passive & Active/Active
The difference between the two is that a cluster configured as active/passive has at least one server in the cluster that remains idle. The passive server has no other responsibilities during normal day-to-day operations.

## Slide 22: High Avalaibility Solutions
Active/Active
An active-active cluster consists of servers that work together and provide a pool of given services. If one of the servers stops unfortunately, location-based services on it are automatically deported to other servers.

## Slide 23: High Avalaibility Solutions
Active-Passive
An active-passive cluster usually consists of two servers, the first dealing with all services installed on it, the other waiting to take over if the first is down
The passive server has no other responsibilities during normal day-to-day operations.

## Slide 24: Load Balancing
Is a methodology to distribute workload across multiple computers or a computer cluster, network links, central processing units, disk drives, or other resources.

## Slide 25: Response Time
Is the time between the end of an inquiry or demand on a computer system and the beginning of a response

## Slide 26: Response Time & QoS

## Slide 27: Factors influencing response time
Scale OUT
Scale IN
Bandwidth
Overloaded Servers

## Slide 28: Scaling In servers
Increasing Internet connection bandwidth
Add resources to servers

## Slide 29: Scaling Out Servers
Load Balancer

## Slide 30: Load Balancer
Hardware Load Balancing
  Provide a robust topology with high availability.
  Higher costs compared to software versions.
Software Load Balancing
  Cheaper than hardware load balancers.
  More configurable based on requirements.

## Slide 31: Load-Balancing Algorithms
Least connections

## Slide 32: Load-Balancing Algorithms
Round robin
1/2
1/2

## Slide 33: Load-Balancing operating
Load balancer
Client
Cluster
Director
Standby
Load balancer
VIP@

## Slide 34: Load-Balancing operating
LB - Director
Client
Cluster
LB - Standby
VIP@